## 3ASY02_ProteomicsMassSpec
Source Name | Parameter [Experiment type] | Term Source REF (PRIDE:000045) | Term Accession Number (PRIDE:000045) | Parameter [Quantification method] | Term Source REF () | Term Accession Number () | Parameter [technical replicate] | Term Source REF (MS:1001808) | Term Accession Number (MS:1001808) | Parameter [Variable modification] | Term Source REF (MS:1003022) | Term Accession Number (MS:1003022) | Parameter [Fixed modification] | Term Source REF (MS:1003021) | Term Accession Number (MS:1003021) | Parameter [sample volume] | Unit | Term Source REF (MS:1000005) | Term Accession Number (MS:1000005) | Parameter [injection volume] | Unit (#2) | Term Source REF (#2) | Term Accession Number (#2) | Parameter [Number of injections] | Unit (#3) | Term Source REF (#3) | Term Accession Number (#3) | Parameter [instrument model] | Term Source REF (MS:1000031) | Term Accession Number (MS:1000031) | Parameter [duration] | Unit (#4) | Term Source REF (#4) | Term Accession Number (#4) | Data File Name

## SwateTemplateMetadata
Id | 64edd0b7-c2da-4bd0-b6f3-3d150a6151a8
Name | Proteomics MassSpec Assay
Version | 1.1.3
Description | This protocol focuses on the measurement of the mass spectrometer, its settings and all other relevant data related to this.
Docslink | https://github.com/nfdi4plants/SWATE_templates/wiki/3ASY02_ProteomicsMeasurement
Organisation
Table | annotationTableAverageGoose75
#ER list
ER | PRIDE
ER Term Accession Number
ER Term Source REF
#TAGS list
Tags | Assay | Proteomics | Measurement | Mass spectrometry | MS
Tags Term Accession Number
Tags Term Source REF
#AUTHORS list
Authors Last Name | Maus
Authors First Name | Oliver
Authors Mid Initials
Authors Email
Authors Phone
Authors Fax
Authors Address
Authors Affiliation
#AUTHORS ROLES list
Authors Roles
Authors Roles Term Accession Number
Authors Roles Term Source REF
Note on A1: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The unique identifier of this template. It will be auto generated. Antwort: id=64edd0b7-c2da-4bd0-b6f3-3d150a6151a8

## PRIDE_PROTEOMICS
| TermSourceRef | Ontology | TAN | Content type (validation) | Notes during templating | Target term | Instruction | Requirement (m/o/n) | Value (cv/s/d) | Additional information | Review comments
Source Name
Parameter [Experiment type] | PRIDE:0000457 | PRIDE | http://purl.obolibrary.org/obo/PRIDE_0000457 | http://purl.obolibrary.org/obo/PRIDE_0000457 |  | MTD.experiment_type | The current types of the experiment types are listed as CV params below: [PRIDE, PRIDE:0000427, Top-down proteomics, ] [PRIDE, PRIDE:0000429, Shotgun proteomics, ] [PRIDE, PRIDE:0000430, Chemical cross-linking coupled with mass spectrometry proteomics, ] [PRIDE, PRIDE:0000433, Affinity purification coupled with mass spectrometry proteomics, ] [PRIDE, PRIDE:0000311, SRM/MRM, ] [PRIDE, PRIDE:0000447, SWATH MS, ] [PRIDE, PRIDE:0000451, MSE, ] [PRIDE, PRIDE:0000452, HDMSE, ] [PRIDE, PRIDE:0000453, PAcIFIC, ] [PRIDE, PRIDE:0000454, All-ion fragmentation, ] [MS, MS:1002521, Mass spectrometry imaging,] | m | cv
Parameter [Quantification method] | user-specific | user-specific | user-specific | http://purl.obolibrary.org/obo/PRIDE_0000307 |  | SME.quantification | Controlled vocabulary terms to describe a single quantification technique. PRIDE ontology CV terms are recommended, below are the options: [PRIDE, PRIDE:0000318, 18O,] [PRIDE, PRIDE:0000320, AQUA,] [PRIDE, PRIDE:0000319, ICAT,] [PRIDE, PRIDE:0000321, ICPL,] [PRIDE, PRIDE:0000315, SILAC,] [PRIDE, PRIDE:0000314, TMT,] [PRIDE, PRIDE:0000313, iTRAQ,] [PRIDE, PRIDE:0000323, TIC,] [PRIDE, PRIDE:0000322, emPAI,] [PRIDE, PRIDE:0000435, Peptide counting,] [PRIDE, PRIDE:0000436, Spectrum counting,] [PRIDE, PRIDE:0000437, Protein Abundance Index – PAI,] [PRIDE, PRIDE:0000438, Spectrum count/molecular weight,] [PRIDE, PRIDE:0000439, Spectral Abundance Factor – SAF,] [PRIDE, PRIDE:0000440, Normalized Spectral Abundance Factor – NSAF,] [PRIDE, PRIDE:0000441, APEX - Absolute Protein Expression,] | o | cv
Parameter [technical replicate] | MS:1001808 | MS | http://purl.obolibrary.org/obo/MS_1001808 | http://purl.obolibrary.org/obo/MS_1001808 |  |  |  | n
Parameter [Variable modification] | user-specific | user-specific | user-specific |  |  | MTD.modification | Controlled vocabulary term to describe a single modification. PSI-MOD and Unimod CV terms are allowed. Note: if no modification was reported in the experiment, the CV term [PRIDE, PRIDE:0000398, No PTMs are included in the dataset, ] must be used. | m | cv
Parameter [Fixed modification] | user-specific | user-specific | user-specific |  |  | MTD.modification | Controlled vocabulary term to describe a single modification. PSI-MOD and Unimod CV terms are allowed. Note: if no modification was reported in the experiment, the CV term [PRIDE, PRIDE:0000398, No PTMs are included in the dataset, ] must be used. | m | cv
Parameter [sample volume] | MS:1000005 | MS | http://purl.obolibrary.org/obo/MS_1000005 | http://purl.obolibrary.org/obo/MS_1000005 |  |  |  | n
Parameter [injection volume] | user-specific | user-specific | user-specific |  |  |  |  | n
Parameter [count unit] | UO:0000189 | UO | http://purl.obolibrary.org/obo/UO_0000189 | http://purl.obolibrary.org/obo/UO_0000189 |  |  |  | n
Parameter [instrument model] | MS:1000031 | MS | http://purl.obolibrary.org/obo/MS_1000031 | http://purl.obolibrary.org/obo/MS_1000031 |  | MTD.instrument | Controlled vocabulary terms to describe a single instrument model. PSI MS ontology CV terms are allowed. In case the instrument model is not included in the ontology, then use the generic instrument model CV term, [MS, MS:1000031, instrument model, CUSTOM NAME], and replace ‘CUSTOM NAME’ with your instrument model name. | m | cv
Parameter [duration] | PATO:0001309 | PATO | http://purl.obolibrary.org/obo/PATO_0001309 | http://purl.obolibrary.org/obo/PATO_0001309 |  |  |  | n
Data File Name