## 2EXT05_Imaging
Source Name | Parameter [microscopy sample preparation] | Term Source REF (DPBO:1000143) | Term Accession Number (DPBO:1000143) | Characteristic [prepared organism part] | Term Source REF (DPBO:1000145) | Term Accession Number (DPBO:1000145) | Parameter [generic experimental condition] | Term Source REF (MS:1001814) | Term Accession Number (MS:1001814) | Parameter [antibody] | Term Source REF (DPBO:1000117) | Term Accession Number (DPBO:1000117) | Parameter [staining] | Term Source REF (OBI:0302887) | Term Accession Number (OBI:0302887) | Parameter [channel] | Term Source REF (DPBO:1000113) | Term Accession Number (DPBO:1000113) | Parameter [Gene Identifier] | Term Source REF (NCIT:C48664) | Term Accession Number (NCIT:C48664) | Parameter [gene name] | Term Source REF (MS:1000934) | Term Accession Number (MS:1000934) | Parameter [genome reference sequence] | Term Source REF (DPBO:0000026) | Term Accession Number (DPBO:0000026) | Parameter [microscope slide] | Term Source REF (OBI:0400170) | Term Accession Number (OBI:0400170) | Parameter [Cover Slip] | Term Source REF (NCIT:C126370) | Term Accession Number (NCIT:C126370) | Parameter [liquid layer] | Term Source REF (ENVO:01001273) | Term Accession Number (ENVO:01001273) | Parameter [material fixation] | Term Source REF (DPBO:1000144) | Term Accession Number (DPBO:1000144) | Parameter [cover slip preparation (procedure)] | Term Source REF (SCTID:71661000) | Term Accession Number (SCTID:71661000) | Parameter [high content screening stage] | Term Source REF (EFO:0007555) | Term Accession Number (EFO:0007555) | Parameter [screening library] | Term Source REF (OBI:0100064) | Term Accession Number (OBI:0100064) | Parameter [library version] | Term Source REF (DPBO:1000116) | Term Accession Number (DPBO:1000116) | Parameter [manufacturer] | Term Source REF (OBI:0000835) | Term Accession Number (OBI:0000835) | Parameter [microtiter plate] | Term Source REF (OBI:0000192) | Term Accession Number (OBI:0000192) | Parameter [well] | Term Source REF (DPBO:1000101) | Term Accession Number (DPBO:1000101) | Parameter [well Number] | Term Source REF (DPBO:1000102) | Term Accession Number (DPBO:1000102) | Parameter [siRNA identifier] | Term Source REF (DPBO:1000103) | Term Accession Number (DPBO:1000103) | Parameter [sense sequence] | Term Source REF (DPBO:1000109) | Term Accession Number (DPBO:1000109) | Parameter [antisense sequence] | Term Source REF (DPBO:1000110) | Term Accession Number (DPBO:1000110) | Parameter [reagent design genome reference version] | Term Source REF (DPBO:1000136) | Term Accession Number (DPBO:1000136) | Parameter [compound name] | Term Source REF (DPBO:1000104) | Term Accession Number (DPBO:1000104) | Parameter [compound identifier] | Term Source REF (DPBO:1000105) | Term Accession Number (DPBO:1000105) | Parameter [compound class] | Term Source REF (DPBO:1000106) | Term Accession Number (DPBO:1000106) | Parameter [dose] | Term Source REF (OBI:0000984) | Term Accession Number (OBI:0000984) | Parameter [time] | Term Source REF (PATO:0000165) | Term Accession Number (PATO:0000165) | Parameter [ORF identifier] | Term Source REF (data:2795) | Term Accession Number (data:2795) | Parameter [control type] | Term Source REF (DPBO:1000111) | Term Accession Number (DPBO:1000111) | Parameter [control specification] | Term Source REF (DPBO:1000137) | Term Accession Number (DPBO:1000137) | Parameter [quality control] | Term Source REF (DPBO:1000112) | Term Accession Number (DPBO:1000112) | Parameter [quality control comments] | Term Source REF (DPBO:1000138) | Term Accession Number (DPBO:1000138) | Sample Name
| remove leaflets form shoot |  |  | shoot without leaves |  |  | compound treatment |  |  | Nup107-aa33-51 antibody |  |  | DAPI |  |  | DAPI:nuclei;TRITC:HA_Flag tagged protein |  |  | ENSG00000117399 |  |  | RuBisCo |  |  | GRCh37, Ensembl release 61, Feb 2011 |  |  | Sigma-Aldrich, microscope plain, size 25 mm × 75 mm |  |  | BRAND® L × W 18 mm × 18 mm, square; Sigma-Aldrich |  |  | water |  |  | 50% v/v ethanol, 3.7% v/v formaldehyde, 5% v/v acetic acid |  |  | nailpolish |  |  | primary screen |  |  | haploid deletion library |  |  | Ambion |  |  | Bioneer haploid deletion library v.2 modified to generate a GFP-tubulin expressing library (Dixon et al., 2008). |  |  | JL_120731_S6A |  |  | A1 |  |  | 1 |  |  | s2748 |  |  | CGAAAUGACUAUUACCUGATT |  |  | UCAGGUAAUAGUCAUUUCGGA |  |  | GRCh37, Ensembl release 61, Feb 2011 |  |  | DL-alpha-Methyl-p-tyrosine |  |  | 78875 |  |  | Neurotransmission |  |  | 10 nanogram per milliliter |  |  | 1 hour |  |  | 9994 |  |  | empty well |  |  | checks for transfection |  |  | pass
| extract archargonia from gametophyte | [5 empty] | antibody target |  |  | Alexa Fluor 546 conjugated secondary antibody | [5 empty] | GFP:endogenous alpha tubulin 2;Cascade blue:growth media |  |  | 84240 | [23 empty] | secondary screen |  |  | compound library |  |  | Sigma |  |  | LOPAC-1280 compound library |  |  | 1921 |  |  | C3 |  |  | PSORS1C3 |  |  | s20068 |  |  | CGGAAGCAGUUCCAACUUUtt |  |  | AAAGUUGGAACUGCUUCCGtt | [5 empty] | N-Acetyl-L-Cysteine |  |  | 78955 |  |  | Glutamate | [8 empty] | 168 |  |  | positive control |  |  | gives strong phenotype |  |  | fail
[43 empty] | validation screen |  |  | siRNA library | [35 empty] | 6-Methoxy-1,2,3,4-tetrahydro-9H-pyrido[3,4b] indole | [11 empty] | negative control |  |  | wild type |  |  | no cells
[46 empty] | HA-Flag protein fusion library | [50 empty] | non-targeting siRNA
no treatment

## isa_template
Id | 8fbc694a-5adf-4f97-8cd8-3bcedc37c98d
Name | Imaging extraction
Version | 1.0.3
Description | Template that describes the extraction working steps for imaging-related research.
Organisation | DataPLANT
Table | annotationTableFuzzyDodo24
#ER list
ER
ER Term Accession Number
ER Term Source REF
#TAGS list
Tags | Imaging | extraction
Tags Term Accession Number |  | http://purl.obolibrary.org/obo/OBI_0302884
Tags Term Source REF
#AUTHORS list
Authors Last Name | Rempfer
Authors First Name | Christine
Authors Mid Initials
Authors Email
Authors Phone
Authors Fax
Authors Address
Authors Affiliation
Authors ORCID
Authors Role
Authors Role Term Accession Number
Authors Role Term Source REF
Note on A1: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The unique identifier of this template. It will be auto generated. Antwort: id=8fbc694a-5adf-4f97-8cd8-3bcedc37c98d
Note on A2: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The name of the Swate template.
Note on A3: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The current version of this template in SemVer notation.
Note on A4: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The description of this template. Use few sentences for succinctness.
Note on A5: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The name of the template associated organisation. "DataPLANT" will trigger the "DataPLANT" batch of honor for the template.
Note on A6: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The name of the Swate annotation table in the workbook of the template's excel file.
Note on A7: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: A list of all ERs (endpoint repositories) targeted with this template. ERs are realized as Terms: <term ref here>
Note on A11: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: A list of all tags associated with this template. Tags are realized as Terms: <term ref here>
Note on A15: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: The author(s) of this template.

## BioImageArchive_Imaging
| TermSourceRef | Ontology | TAN | Content type (validation) | Notes during templating | Target term | Instruction | Requirement (m/o/n) | Value (cv/s/d) | Additional information | Review comments
Source Name
Parameter [microscopy sample preparation] | DPBO:1000143 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000143 |  |  |  |  | n
Characteristic [prepared organism part] | DPBO:1000145 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000145 |  |  |  |  | n
Parameter [generic experimental condition] | MS:1001814 | MS | http://purl.obolibrary.org/obo/MS_1001814 |  |  | Screen/Experiment File_Experimental conditions ¦ Annotations_Experimental factor |  | o | s
Parameter [antibody] | DPBO:1000117 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000117 |  |  | Protocol_treatment_Protocol |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [staining] | OBI:0302887 | OBI | http://purl.obolibrary.org/obo/OBI_0302887 |  |  | Protocol_treatment_Protocol |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [channel] | DPBO:1000113 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000113 |  |  | imagelist_Channel |  | o | s
Parameter [Gene Identifier] | NCIT:C48664 | NCIT | http://purl.obolibrary.org/obo/NCIT_C48664 |  |  | screen-library_Gene Identifier ¦ experiment-assay_Comment [Gene Identifier] | for screen: the identifier for the gene; for experiment: enter an identifier for any associated genes e.g. ensembl identifier for targeted protein | o | s | mandatory for screen gene knockouts
Parameter [gene name] | MS:1000934 | MS | http://purl.obolibrary.org/obo/MS_1000934 |  |  | screen-library_GeneSymbol ¦experiment-assay_Comment [Gene Symbol] | for screen: the symbol for the gene; for experiment: enter gene symbol for any associated genes e.g. BRCA1 | o | s | mandatory for screen gene knockouts
Parameter [genome reference sequence] | DPBO:0000026 | DPBO | http://purl.obolibrary.org/obo/DPBO_0000026 |  |  | screen-library_Analysis Gene Annotation Build ¦ experiment-assay_Comment [Gene Annotation Comments] | the genome assembly and gene annotation build that the reagents were mapped to for this analysis E.g. GRCh37, Ensembl release 61, Feb 2011 | o | s
Parameter [microscope slide] | OBI:0400170 | OBI | http://purl.obolibrary.org/obo/OBI_0400170 |  |  | Protocol_treatment_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [Cover Slip] | NCIT:C126370 | NCIT | http://purl.obolibrary.org/obo/NCIT_C126370 |  |  | Protocol_treatment_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [liquid layer] | ENVO:01001273 | ENVO | http://purl.obolibrary.org/obo/ENVO_01001273 |  |  | Protocol_treatment_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [material fixation] | DPBO:1000144 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000144 |  |  | Protocol_treatment_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [cover slip preparation (procedure)] | SCTID:71661000 | SCTID | http://purl.obolibrary.org/obo/SCTID_71661000 |  |  | Protocol_treatment_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [high content screening stage] | EFO:0007555 | EFO | http://purl.obolibrary.org/obo/EFO_0007555 |  |  | Screen/Experiment_Type |  | o | cv ¦ s
Parameter [screening library] | OBI:0100064 | OBI | http://purl.obolibrary.org/obo/OBI_0100064 |  |  | Screen/Experiment File_Library type |  | o | s
Parameter [library Version] | DPBO:1000116 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000116 |  |  | Screen/Experiment File_Version |  | o | s | If a library file is given the "Version" should be specified.
Parameter [manufacturer] | OBI:0000835 | OBI | http://purl.obolibrary.org/obo/OBI_0000835 |  |  | Screen/Experiment File_Manufacturer |  | o | s | If a library file is given the "Manufacturer" should be specified.
Parameter [microtiter plate] | OBI:0000192 | OBI | http://purl.obolibrary.org/obo/OBI_0000192 |  |  | Protocol_library_Description ¦ imagelist_Plate |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [well] | DPBO:1000101 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000101 |  |  | Protocol_library_Description ¦ imagelist_Field |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [well Number] | DPBO:1000102 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000102 |  |  | Protocol_library_Description ¦ imagelist_Well |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [siRNA identifier] | DPBO:1000103 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000103 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [sense Sequence] | DPBO:1000109 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000109 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [antisense Sequence] | DPBO:1000110 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000110 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [reagent design genome reference version] | DPBO:1000136 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000136 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [compound name] | DPBO:1000104 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000104 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [compound identifier] | DPBO:1000105 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000105 |  |  | Protocol_library_Description ¦ imagelist_Compound |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [compound class] | DPBO:1000106 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000106 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [dose] | OBI:0000984 | OBI | http://purl.obolibrary.org/obo/OBI_0000984 |  |  | Protocol_library_Description ¦ imagelist_Concentration |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [time] | PATO:0000165 | PATO | http://purl.obolibrary.org/obo/PATO_0000165 |  |  | Protocol_library_Description ¦imagelist_concentration |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [ORF identifier] | data:2795 | EDAM | http://edamontology.org/data_2795 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [control Type] | DPBO:1000111 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000111 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [control specification] | DPBO:1000137 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000137 |  |  | Protocol_library_Description |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [quality Control] | DPBO:1000112 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000112 |  |  | Protocol_library_Description ¦ imagelist_QC info |  | o | s | At least one protocol should be given including "Type" and "Description".
Parameter [quality Control Comments] | DPBO:1000138 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000138 |  |  | Protocol_library_Description ¦ imagelist_QC info |  | o | s | At least one protocol should be given including "Type" and "Description".
Sample Name

## IDR_Imaging
| TermSourceRef | Ontology | TAN | Content type (validation) | Notes during templating | Target term | Instruction | Requirement (m/o/n) | Value (cv/s/d) | Additional information | Review comments
Source Name
Parameter [microscopy sample preparation] | DPBO:1000143 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000143 |  |  |  |  | n
Characteristic [prepared organism part] | DPBO:1000145 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000145 |  |  |  |  | n
Parameter [generic experimental condition] | MS:1001814 | MS | http://purl.obolibrary.org/obo/MS_1001814 |  |  | library section_Library Experimental Conditions ¦ assay section_Assay Experimental Conditions | if there were any experimental conditions some cells were grown under as part of the study enter the information here e.g. different environmental stress conditions, or mutant background compared to wild type. | o | s
Parameter [antibody] | DPBO:1000117 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000117 |  |  | treatment protocol
Parameter [staining] | OBI:0302887 | OBI | http://purl.obolibrary.org/obo/OBI_0302887 |  |  | treatment protocol
Parameter [channel] | DPBO:1000113 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000113 |  |  | screen-libraray_Channels ¦ experiment-assay_Channels | the names of the channels and what was labeled in each channel | o | s
Parameter [Gene Identifier] | NCIT:C48664 | NCIT | http://purl.obolibrary.org/obo/NCIT_C48664
Parameter [gene name] | MS:1000934 | MS | http://purl.obolibrary.org/obo/MS_1000934
Parameter [genome reference sequence] | DPBO:0000026 | DPBO | http://purl.obolibrary.org/obo/DPBO_0000026
Parameter [microscope slide] | OBI:0400170 | OBI | http://purl.obolibrary.org/obo/OBI_0400170 |  |  | image acquistion and feature extraction protocol
Parameter [Cover Slip] | NCIT:C126370 | NCIT | http://purl.obolibrary.org/obo/NCIT_C126370 |  |  | image acquistion and feature extraction protocol
Parameter [liquid layer] | ENVO:01001273 | ENVO | http://purl.obolibrary.org/obo/ENVO_01001273 |  |  | image acquistion and feature extraction protocol
Parameter [material fixation] | DPBO:1000144 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000144 |  |  | image acquistion and feature extraction protocol
Parameter [cover slip preparation (procedure)] | SCTID:71661000 | SCTID | http://purl.obolibrary.org/obo/SCTID_71661000 |  |  | image acquistion and feature extraction protocol
Parameter [high content screening stage] | EFO:0007555 | EFO | http://purl.obolibrary.org/obo/EFO_0007555 |  |  | SCREEN/EXPERIMENT SECTION_Screen Type | choose from: primary screen, secondary screen, validation screen, or enter your own value | m | cv ¦ s
Parameter [screening library] | OBI:0100064 | OBI | http://purl.obolibrary.org/obo/OBI_0100064 |  |  | library section_Library Type | choose from siRNA library, haploid deletion library, diploid homozygous deletion library, GFP protein fusion library, YFP protein fusion library, HA-Flag protein fusion library,compound library, antibody library, ORF library or enter your own value | o | cv ¦ s
Parameter [library Version] | DPBO:1000116 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000116 |  |  | library section_Library Version | the version number (if applicable) | o | s
Parameter [manufacturer] | OBI:0000835 | OBI | http://purl.obolibrary.org/obo/OBI_0000835 |  |  | library section_Library Manufacturer | who manufactured the library, or who it was obtained from (if applicable) | o | s
Parameter [microtiter plate] | OBI:0000192 | OBI | http://purl.obolibrary.org/obo/OBI_0000192 |  |  | screen-library_Plate | the name of the plate (should be the same as the name of the directory containing the image files) | m | s
Parameter [well] | DPBO:1000101 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000101 |  |  | screen-library_Well | the well location e.g. A1, A2, A3, etc | m | s | either "Well" or "Well Number" need to be filled in
Parameter [well Number] | DPBO:1000102 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000102 |  |  | screen-library_Well Number | if preferred well numbers 1 to 96 or 1 to 384 can be used instead of well locations | m | s | either "Well" or "Well Number" need to be filled in
Parameter [siRNA identifier] | DPBO:1000103 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000103 |  |  | screen-library_siRNA Identifier | the identifier for any reagent used e.g. siRNA, siRNA Pool (both can be included in separate columns), compound name or compound identifier, ORF identifier | m | s
Parameter [sense Sequence] | DPBO:1000109 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000109 |  |  | screen-library_Sense Sequence | the sequence of the sense strand (if applicable) | o | s
Parameter [antisense Sequence] | DPBO:1000110 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000110 |  |  | screen-library_Antisense Sequence | the sequence of the antisense strand (if applicable) | o | s
Parameter [reagent design genome reference version] | DPBO:1000136 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000136 |  |  | screen-library_Reagent Design Gene Annotation Build | the genome assembly and gene annotation build used for designing the reagents i.e. siRNAs. E.g. GRCh37, Ensembl release 61, Feb 2011 | o | s
Parameter [compound name] | DPBO:1000104 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000104 |  |  | screen-library_Compound Name | the identifier for any reagent used e.g. siRNA, siRNA Pool (both can be included in separate columns), compound name or compound identifier, ORF identifier | o | s | for screen "other systems" other systems an identifier for any reagent used is mandatory e.g. compound name
Parameter [compound identifier] | DPBO:1000105 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000105 |  |  | screen-library_Compound Identifier | the identifier for any reagent used e.g. siRNA, siRNA Pool (both can be included in separate columns), compound name or compound identifier, ORF identifier | o | s | for screen "other systems" other systems an identifier for any reagent used is mandatory e.g. compound name
Parameter [compound class] | DPBO:1000106 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000106 |  |  | screen-library
Parameter [dose] | OBI:0000984 | OBI | http://purl.obolibrary.org/obo/OBI_0000984 |  |  | screen-library
Parameter [time] | PATO:0000165 | PATO | http://purl.obolibrary.org/obo/PATO_0000165 |  |  | screen-library
Parameter [ORF identifier] | data:2795 | EDAM | http://edamontology.org/data_2795 |  |  | screen-library_ORF Identifier | the identifier for any reagent used e.g. siRNA, siRNA Pool (both can be included in separate columns), compound name or compound identifier, ORF identifier | o | s | mandatory for screen of tagged proteins and overexpression of genes
Parameter [control Type] | DPBO:1000111 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000111 |  |  | screen-library_Control Type | if the well is a control then choose from: positive control, negative control, empty well. If it is not a control then leave blank. | m | cv
Parameter [control specification] | DPBO:1000137 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000137 |  |  | screen-library_Control Comments | any additional information about the control can be entered here e.g. 'checks for transfection', 'gives strong phenotype' | o | s
Parameter [quality Control] | DPBO:1000112 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000112 |  |  | screen-library_Quality Control | enter any quality control information here. This can be 'pass/fail' or other information such as 'no cells' | o | s
Parameter [quality Control Comments] | DPBO:1000138 | DPBO | http://purl.obolibrary.org/obo/DPBO_1000138 |  |  | screen-library_Quality Control Comment | if you used 'pass/fail' in the Quality Control column and want to give more information then enter it here | o | s
Sample Name