## Tabelle1
https://www.ebi.ac.uk/metabolights/editor/guides/Assay/Assay_overview | NMR | LC_MS | GC_MS | Swate template
| sample name | sample name | sample name
| Extraction protocol | Extraction protocol | Extraction protocol
| extraction method | post extraction | post extraction
|  | derivatization | derivatization
| (extract name) | (extract name) | (extract name)
NMR Sample protocol
NMR tube type
solvent
sample ph
temperature with unit
(labelled extract name)
label
| NMR spectroscopy protocol | chromatography protocol | chromatography protocol | protocol type
| instrument | chromatography instrument | chromatography instrument | chromatography instrument
| NMR probe | column model | column model | chromatography column model
| number of transients | column type | column type | chromatographyl model type
| pulse sequence name | (labelled extract name) | (labelled extract name) | Sample name
| magnetic field strength + unit | label | label | label
| acquisition parameter data file |  |  | raw data file
| NMR assay protocol | mass spectrometry protocol | mass spectrometry protocol | protocol type
| nmr assay name | scan polarity | scan polarity | scan polarity
| free induction decay data file | scan m/z range | scan m/z range | m/z acquisition range
|  | instrument | instrument | instrument
|  | ion source | ion source | ion source
|  | mass analyzer | mass analyzer | mass analzer
|  | ms assay name (s.o. für nmr) | ms assay name (s.o. für nmr) | sample name
|  | raw spectral data file | raw spectral data file | raw data file
| protocol ref data transformation | protocol ref data transformation | protocol ref data transformation
| normalization name | normalization name | normalization name
| derived spectral data file | derived spectral data file | derived spectral data file
| metabolite identification protocol | metabolite identification protocol | metabolite identification protocol
| data transformation name | data transformation name | data transformation name
| metabolite assignment file (MAF) | metabolite assignment file (MAF) | metabolite assignment file (MAF)